# STATE OF MARYLAND

DEPARTMENT OF THE ENVIRONMENT

Renewal Permit for Gas/Oil

GAS/OIL OPERATING PERMIT# 77-GO-0111

PERMIT EFFECTIVE DATE: July 11, 1977

PERMIT EXPIRATION DATE: July 31, 2021

Pursuant to Title 14, Subtitle 1 of the Environment Article, Annotated Code of Maryland (2016 Replacement Volume) the Department of the Environment, Land Management Administration hereinafter referred to as the "Department" hereby authorizes:

Texas Eastern Transmission, LP

P. O. Box 1642

Houston, Texas 77251-1642

to operate a gas storage well at the following location and known by the following name: Mitchell Rush  #5 Gas Storage Well located 0.25 mile southwest of Mitchell Rush Road, 1.1 miles south of the junction of Accident-Friendsville Road and Mitchell Rush Road, 2.6 miles southwest of  Accident, Garrett County, Maryland.

Except as terms may have been modified by the conditions of this permit, work authorized herein shall comply with the terms outlined in the permit application, plans, plats, environmental assessments, and addendums required by the Department which are incorporated herein by reference.  All work authorized herein shall be subject to the following conditions:

CONDITIONS

- Other Authorization -- This permit does not authorize any injury to private property or invasion of rights, or any infringement of Federal, State or Local laws or regulations, nor does it obviate the necessity of obtaining required permission from other Federal, State or Local agencies as required.

- Permit Transfer -- This permit is valid only for use by the permittee and may not be transferred without written permission from the Department.

- Permit Modification -- The permittee may not recomplete, stimulate or deepen a completed well without first obtaining a modification from the Department.  A permit modification will also be required to convert an existing gas storage well to a gas production well or an injection well.  The modification request shall be submitted in writing on a form provided by the Department.

- Compliance with Law/Regulation -- All operating procedures shall be conducted in compliance with Environment Article §14-101 through §14-120 and COMAR 26.19.01.  The permit may be suspended or revoked by the Department for violations of permit conditions or if this permit becomes at variance with other approvals.  Suspension or revocation of this permit does not preclude the State from pursuing additional criminal penalties or civil remedies provided for violation of State statutes or regulations.

- Posting of Sign -- The permittee shall post a sign at the well site.  The sign shall state in letters at least one inch in size, the name of the permittee, the permit number, the name of the Department and emergency telephone numbers for each.

- Accident Notification -- The permittee shall notify the Department within two hours of detection of any conditions such as fires, leaks, escapes, spills, overflows or any other condition that may create a safety or pollution hazard.  Emergency notification shall be made to the Department of the Environment Emergency Operator at (866) 633-4686.

- Permit Renewal -- If the permittee plans to continue operations beyond the expiration date of this permit then the permittee shall submit a renewal application to the Department not less than 2 weeks prior to expiration of this permit.

- Gas Meters—The permittee shall be responsible for verifying the accuracy of all gas meters.

- Well Site Security -- The completed gas storage well shall be equipped with wellhead controls adequate to control gas flows and shall be secured to prevent unauthorized access.

- Abandonment of Well -- The permittee shall submit a plugging plan to the Department within 14 days from the date that the well is determined to be abandoned.  The plan must include a time schedule for immediate implementation.

11. Reclamation -- The permittee shall complete all reclamation of the site as per the reclamation plan specified in the application within 60 days of plugging the well.  All production equipment must be removed from the well site as part of the reclamation plan.

- Departmental Modification -- The Department may modify requirements of the renewal permit or include special provisions or conditions in the permit for environmental, safety or other sufficient reasons.

- Wellbore Integrity Monitoring Program—The permittee shall comply with the terms and conditions of the Wellbore Integrity Monitoring Program dated October 8, 2007 as developed by Spectra Energy for the Accident Gas Storage Facility.  All records of testing shall be made available to the Department upon reasonable notification.

____________________________________________		_______________

HILARY MILLER, DIRECTOR					DATE

LAND MANAGEMENT ADMINISTRATION