MARYLAND DEPARTMENT OF THE ENVIRONMENT

WATER SUPPLY PROGRAM
1800 Washington Blvd. Baltimore, MD 21230

(410) 537-3729  (800) 633-6101ext. 3729    http://www.mde.maryland.gov

INORGANIC SELF-MONITORING REPORT

PWSID 
SYSTEM NAME 
COUNTY 

PLANT ID 
PLANT NAME 

SAMPLE SITE ADDRESS 

SAMPLE TYPE: RAW 
FINISHED 
SAMPLE LOCATION (well, sample tap, sink, etc.) 

DATE COLLECTED 
TIME 

SAMPLER ID 
SAMPLER NAME 
PHONE 

LAB CERT#: 
LABORATORY 
PHONE 

LAB SAMPLE ID 
RECEIVED 
REPORTED 

REMARKS: 


	Contaminant


	EPA ID
	MCL

(mg/l)
	Actual Level

(mg/l)
	
	Detection

Limit (mg/l)
	
	EPA Analytic

Method Used
	
	Analysis

Date

	Nitrate

	1040
	10
	
	
	1
	
	SM 4500D
	
	

	Nitrite

	1041
	1
	
	
	0.02
	
	SM4500B
	
	

	Nitrate+Nitrite

	1038
	10
	
	
	
	
	
	
	

	Antimony

	1074
	0.006
	
	
	0.005
	
	SM 3113B
	
	

	Arsenic

	1005
	0.05
	
	
	0.005
	
	SM 3113B
	
	

	Asbestos

	1094
	7MFL*
	
	
	
	
	
	
	

	Barium

	1010
	2
	
	
	0.05
	
	SM 3120B
	
	

	Beryllium

	1075
	0.004
	
	
	0.0005
	
	SM 3113B
	
	

	Cadmium

	1015
	0.005
	
	
	0.0005
	
	SM 3113B
	
	

	Chromium

	1020
	0.1
	
	
	0.01
	
	SM 3120B
	
	

	Cyanide

	1024
	0.2
	
	
	
	
	
	
	

	Fluoride

	1025
	4.0
	
	
	0.2
	
	SM 4500FC
	
	

	Mercury

	1035
	0.002
	
	
	0.0005
	
	SM 3112B
	
	

	Nickel

	1036
	0.1
	
	
	0.02
	
	SM 3120B
	
	

	Selenium

	1045
	0.05
	
	
	0.005
	
	SM 3113B
	
	

	Sodium

	1052
	----
	
	
	0.5
	
	SM 3120B
	
	

	Thallium

	1085
	0.002
	
	
	0.002
	
	EPA 200.9
	
	

	
	
	
	
	
	
	
	
	
	

	Unregulated
	
	
	
	
	
	
	
	
	

	Sulfate

	1055
	
	
	
	
	
	
	
	


· million fibers/liter greater than 10 microns

I do hereby affirm that this record contains no willful misrepresentations or falsifications and that this information given by me is true to the best of my knowledge and belief.  I further certify that the methods and quality control measures used to produce these laboratory results were implemented in accordance with the requirements of this laboratory’s certification under COMAR 26.08.05.

SIGNED
 DATE



