IMPORTANT NOTICE:  Lead Water Sample Result

[insert public water system name]

SAMPLE RESULT

On [insert date], a lead water sample was collected from [insert address of sample].  The Safe Drinking Water Act requires the [insert water system name] to provide each customer who had a lead sample collected from their residence the result of that sample.  The lead result from the sample collected at the above address is [insert lead result] parts per million (ppm).

MAXIMUM CONTAMINANT LEVEL GOAL (MCLG) & ACTION LEVEL (AL)

The MCLG for lead is zero and the AL is 15 parts per billion (or 0.015 parts per million). The MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. The AL is the concentration of a contaminant which, if exceeded, triggers treatment of other requirements which a water system must follow.

HEALTH EFFECTS OF LEAD

Lead can cause serious health problems if too much enters your body from drinking water or other sources. It can cause damage to the brain and kidneys, and can interfere with the production of red blood cells that carry oxygen to all parts of your body. The greatest risk of lead exposure is to infants, young children, and pregnant women. Scientists have linked the effects of lead on the brain with lowered IQ in children. Adults with kidney problems and high blood pressure can be affected by low levels of lead more than healthy adults. Lead is stored in the bones and it can be released later in life. During pregnancy, the child receives lead from the mother’s bones, which may affect brain development.

STEPS YOU CAN TAKE TO REDUCE EXPOSURE TO LEAD IN DRINKING WATER:

- Run your water to flush out lead:  If water hasn’t been used for several hours, run water for 15 to 30 seconds or until it becomes cold or reaches a steady temperature before using it for drinking or cooking.

- Use cold water for cooking and preparing baby formula:  Lead from the plumbing dissolves more easily into hot water.

- Remove debris from faucet strainers:  Remove the faucet strainers/screens from all taps, rinse off the strainer, and run the water from 3 to 5 minutes. Thereafter, periodically remove the strainers and flush out any debris that may have accumulated over time.

- Identify and replace lead solder:  Lead solder (which was commonly used to join copper pipes prior to 1988) appears dull gray and when scratched with a key becomes shiny. A licensed plumber should be able to help with lead solder identification and replacement (if applicable).

- Have an electrician check the grounding in your home:  Contact a licensed electrician to check if grounding wires from the electrical system are connected to your water pipes (which may increase the corrosion of metals in the plumbing).  If so, check if wires can be grounded elsewhere.

- Look for alternative sources (e.g. bottled water) or treatment of water if lead levels are elevated:  If purchasing a water filter, be sure that the filter is approved to reduce lead or contact NSF International at 800-NSF-8010 or www.nsf.org for information on performance standards for water filters.

- Get your child tested:  Contact your local health department or healthcare provider to find out how you can get your child tested for lead, if you are concerned about exposure.

Please note that boiling your water will not reduce the lead levels.

ADDITIONAL INFORMATION

For additional information, please contact [insert public water system name] at [insert telephone number].  For additional information on reducing lead exposure around your home/building and the health effects of lead, visit EPA’s website at www.epa.gov/lead or contact your health care provider.

PWSID:  [insert 7 digit MDE water system identification number]