## Slide 1: PA DEP/BRP, Radon Division
Mid-Atlantic States Radiation Conference
Bob Lewis
Radon Division, Program Manager

## Slide 2: PA DEP/BRP, Radon Division
Exploratory Study of ASD Ground Level Exhaust on Radon
Re-entrainment.

## Slide 3
Re-entrainment
The unintended entry of radon gas from a ASD exhaust pipe back into one’s home or structure.
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 4
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 5
PA Radon Mitigation Standards
14.2.8 To prevent re-entrainment of radon, the point of discharge from vents of ASD systems shall meet all of the following requirements: be above the eave of the roof…
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 6
Do we have to discharge to roof line all the time?
That is what the study is designed to answer, in part.
We don’t think that roof line discharge is always necessary.
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 7
Reasons for Ground Level Discharge
Aesthetics
Safety for installer
Cost
Efficiency
Less condensation
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 8
Early Studies showed that re-entrainment could lead to increased indoor radon.
Modeling studies showed that radon could accumulate on the face of the building under certain circumstances.
PSU used tracer gas from a mock ASD exhaust point with eave and ground level exhaust. The GLE did contribute more to indoor radon than the eave.
DEP/BRP Radon Division
Notes: First study dealt with relatively high exhaust gas concentrations, second study was just a modeling study , and the PSU study was just from one house.

## Slide 9
The Studies continued:
  The studies did conclude that ground level exhaust may be acceptable when the concentrations are not too high and the exhaust point is ninety degrees pointed away from the house.
DEP/BRP Radon Division
Notes: First study dealt with relatively high exhaust gas concentrations, second study was just a modeling study , and the PSU study was just from one house.

## Slide 10
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 11
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 12
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 13
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 14
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 15
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 16
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 17
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 18
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 19
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 20
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 21
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 22
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 23
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 24
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 25
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 26
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 27
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 28
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 29
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 30
DEP/BRP Radon Division, Before
Notes: ER = (WL x 100)/ Rn

## Slide 31
DEP/BRP Radon Division, After
Notes: ER = (WL x 100)/ Rn

## Slide 32
DEP/BRP Radon Division
Notes: ER = (WL x 100)/ Rn

## Slide 33
Questions?
DEP/BRP Radon Division
Contact Information: www.dep.pa.gov Click Radiation Protection then click Radon
    800 237-2366
    717 783-3594