OFFICE USE ONLY

Rejected ___________

Entered ___________

This report must be received by the 10th day of the month following the collection period.

| ###### System Name |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System# |  |  |  |  |  | - |  |  |  |  | Analysis Method |  |

| ###### Lab Cert# |  | Lab Name |  |  |  |
| --- | --- | --- | --- | --- | --- |

| Sampler(s) |  | Sampler |  |  |  |  | – |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (Full Name) |  | Certification |  |  |  |  | – |  |  |  |
|  |  | Number(s) |  |  |  |  | – |  |  |  |

| 1) Month of Collection: (Check 1 Month Only) | Jan |  | Feb |  | Mar |  | Apr |  | May |  | Jun |  | # Year |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jul |  | Aug |  | Sep |  | Oct |  | Nov |  | Dec |  |  |  |

2)	Number of Negative Routines Collected & Analyzed only

List all routine and repeat coliform-positive results in the table on page 2.

3) Percentage of Samples Total Coliform Positive: (only if 40 or more samples were collected in reported month)

(number of positive routines + positive repeats)/(total number of routines+ repeats) x 100

4) Were any routine E. coli positives followed by (same-month) repeat coliform-positives?

If YES, this is a violation – Contact MDE.				Yes    No

5)  Systems with ground water sources:

a. Total Number of Source Water Samples collected for E. coli analysis: .

System must also complete and submit the Ground Water Rule Report Form, if applicable

b. Number of Source Water Samples that are E. coli-positive:

6) Mean Field Chlorine Residual level for Month of Collection: milligrams per liter (mg/L)

Systems over 3,300 persons must complete and submit the Disinfection Residual Monitoring Form quarterly.

If the chlorine residual exceeded 4.0 mg/L, this may be a violation.

7) Original microbiological laboratory report sheets on file and available for inspection?		 Yes   No

I do hereby affirm that this record contains no willful misrepresentations or falsifications and that this information given by me is true and complete to the best of my knowledge and belief.

| Please print Name / Title |  | Telephone |  |
| --- | --- | --- | --- |

| Signature |  | Date |  |
| --- | --- | --- | --- |

Do not count positive routines or any repeats on this page; list these and source water test results on Page 2.

Page 2						PWSID        -

#### Positive Bacteriological Samples Results

This table should be completed, with original positive and all repeats, when there are any positive bacteriological samples for the monitoring period.

| Collection Date/Time | Lab Sample# | Sample1 Type | Repeat2 Location | TC ¦ EC3 (A)sent/(P)resent |  | Count | Free Field Cl2 (mg/L) | Start Analysis Date/Time | Rejection?/Sample Point Location/Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

1Sample Type: RT = Routine; RP= Repeat; TG = Triggered Source Water for Ground Water Rule (untreated).

2Repeat Location: OR = original sample location; UP = upstream within 5 connections of OR; DN = downstream within 5 connections of OR.

3TC (total coliform)/EC (E.coli): The indicators used to indicate the presence or absence of coliform in the sample.

4Count: (optional) This field is only available if total coliform is found to be present.

MDE/WMA/COM.006A							Revised March 2016